HOTEL CORPORATION OF INDIA LTD

(CORPORATE PURCHASE SECTION)

CENTAUR HOTEL,  IGI AIRPORT-II

NEW DELHI - 110037.

##### TEL.NO.25607613, FAX NO.25654242

TENDER NO. DEL/28/2010                     				 Date: 16.09.2010

PURCHASE ENQUIRY

## Sub: Rain Water Harvesting System & Tube Well at Centaur Hotel,

## IGI Airport, New Delhi.

## Hotel Corporation of India Limited, a wholly owned subsidiary of “Air India” invites sealed quotations in two envelope system for Rain Water Harvesting System & Tube Well at Centaur Hotel, IGI Airport, New Delhi. as per Terms and Conditions mentioned in the Tender Document.

| Tender Enquiry No. | DEL/28/2010 |
| --- | --- |
| Last date of submission of tender | 12.10.2010 by 1430 hrs. |
| Date of opening of bid | 12.10.2010 at 1500 hrs. |

| S.No. | Particulars | Annexure |
| --- | --- | --- |
| 1 | Certificate | I |
| 2 | Technical Bid Format | II |
| 3 | Format for Price Bid | III |

ESTIMATED VALUE : RS. 30,00,000 WHICH MAY VARY AS PER OUR ACTUAL REQUIREMENTS.

METHOD OF SUBMISSION OF QUOTATIONS IN TWO ENVELOPE SYSTEM

FIRST ENVELOPE - “Technical Bid” contents following:-

(a)  Subscribe on FIRST ENVELOPE – Technical Bid for “Tender No. DEL/28/2010 Due Date 12.10.2010 and write your Company Name & Address at the bottom of envelope for identification.

(b)  EMD by Demand Draft/Pay Order or by Cash equivalent of Rs. 15, 000/-. EMD paid by way of Cheque not acceptable.  Please enclose the Receipt/DD in original favoring Hotel Corporation of India Ltd. If you are depositing Cash then enclose Original Cash Receipt in to this envelope and retain a photocopy of the Cash Receipt with you.

(c)  The Tenderer’s Status form (Annexure II) is enclosed with this Enquiry. The form to be filled in indicating your Company profile and signed by your authorized representative and to be attached in the First Envelope - Technical Bid.

(d) We will not be providing Tax related concessional forms like 2B/C/3D/D.

(e)  Are you registered with NSIC? (For details, visit www.nsic.co.in/go.asp). If “YES”, please attach a photo copy of “Registration Certificate”. If “NO”, your bid / quote will not be “Technically rejected”, based on this point.

(f)  Please attach photocopy of PAN Card.

(g) Mention all present Taxes, Excise, Octroi, which you have considered, their percentage and Amount in Rupees. Also mention transportation charges, handling charges, packing charges etc.

(h)  Confirm that the total amount mentioned in the Commercial Details includes all the taxes, excise,

octroi and any other cost due to packing, transportation, handling, insurance etc.

  - Confirm that, quote / price for all the ITEMS has been mentioned, in the “Price Bid.”

  - Confirm that, the mentioned Amount in Rupees, in the Price Bid (Kept in the “Envelope Two”) is unconditional in nature. Accordingly, it shall be treated as “Unconditional Offer”.

  - Prices should not be mentioned in this Technical Bid. Confirm the same.

  - The format of Declaration/Acceptance undertaking (Annexure III) is also enclosed with this enquiry. The same to be signed by your authorized representative and attached with Technical Bid.

Note:  As part of/along with your Technical Bid, please submit Registration Certificates, Trade and Industry Accreditation, if any as applicable.  HCI may visit the facility of Bidders to assess suitability as part of Technical Evaluation of bids.

SECOND ENVELOPE– “Price Bid” will have following:-

(a)  On this SECOND ENVELOPE - write “Tender No. DEL/28/2010 Due date 12.10.2010 and also write your Companies Name & Address at the bottom of the envelope.

(b)  Please fill up enclosed Price Bid Form (Annexure IV) and keep in your Second Envelope– Price Bid. The Price Bid must be signed by your authorized representative bearing Company Stamp.

(c) Alternatively you can use your Company letter head for Price Bid but it has to be typed in the manner/format shown in our Price Bid Form.

CORRECTIONS / OVERWRITINGS IN BIDS: Bidder needs to sign at all these places

THE TWO SEPARATE SEALED ENVELOPES (i.e. ONE ENVELOPE FOR THE TECHNICAL DETAILS, AND SECOND ENVELOPE FOR THE PRICE DETAILS) MAY BE FURTHER IN A MASTER ENVELOPE SUPERSCRIBED WITH "BID FOR TENDER ENQ. NO. DEL/28/2010 DUE FOR OPENING AT 1500 HRS. ON 12.10.2010 and should be submitted at the following address up to 1430 hrs. on or before 12.10.2010.

EXECUTIVE MANAGER,

CORPORATE PURCHASE SECTION,

HOTEL CORPORATION OF INDIA LTD.,

CENTAUR HOTEL,

IGI AIRPORT,

NEW DELHI-110037.

QUALIFICATION CRITERIA OF BID - BID MAY BE REJECTED, BASED ON ANY ONE OF THE FOLLOWING REASONS :

- Only single Envelope (Technical Bid or Commercial Bid) received.

- Details received by fax.

- Unsigned Offer.

- If you mention Total Amount in “First Envelope - Technical Bid”. (Total Amount must appear in Annexure IV only).

- If your Organization does not have “PAN”, issued by Income Tax authority.

- If the list of your existing Customers is NIL, for this Item.

- If the bidder has not quoted for all the Items, mentioned in this “Purchase Enquiry”.

- If the EMD (Bank Draft or Cash Receipt) is not kept in the first envelope.

CLARIFICATIONS:

a) For any technical clarification please contact:

Senior Manager – Engineering,

Centaur Hotel,

IGI Airport-II,

New Delhi-110037.

Tel.No. 25607600

NOTE: Managing Director – Hotel Corporation of India reserves the right to accept

or reject, in part or whole, any or all tenders received without assigning

any reasons whatsoever.

You are requested to confirm your intention to quote or regret to Corporate Purchase,

Centaur Hotel, Hotel Corporation of India Ltd.

Sd/-

(S.P.Mukhopadhyay)  						       			   Exec. Manager-Catering (CP)

HOTEL CORPORATION OF INDIA LIMITED

Sub: Providing & Erecting of Rain Water Harvesting System & Installation of One Bore well at Centaur Hotel, Delhi.

- Place of work:

The work is to be carried out in the Centaur Hotel, New Delhi.

2.	Scope of work:

- Supply & erecting/fixing of Cement concrete, centering & shuttering, reinforcement of RCC work, brick work, steel work, cement plasterers pipes, safety foot restrict manhole cover, road gully chamber, casing of PVC pipes, filter items, boulders, gravel, pea gravel, water arrangement, mobilization & demobilizing of equipment & machinery to & from site for drilling, water & electricity arrangement for drilling, drilling of pilot hole, collection & analysis of drill cutting samples, geophysical logging, reaming of pilot hole,MS housing pipe, wire screen pipe(stainless steel),all tube well fittings, shrouding of pea gravel, development of tube well, well water testing, data collection & analysis, testing water samples, submersible pump set 7.5 HP,cables,control panel for pump including level guard, single phase preventor,GI pipes etc, all complete for satisfactory job completion. Cement mortar ratio a) brick work 1:6(1Cement:6coarse sand) 1st quality bricks b) RCC 1:2:4(1cement:2coarse sand: 4stone agg: 15mm or less) c) PCC 1:4:8(1cement:4coarse sand: 8stone agg.15mm or less).ISI approved pipes to be used.ISI approved TOR steel to be used. Pea gravel 3-6mm, Gravel 5-10mm, and Boulder 5-15 cm.

- Excavation in earthwok, filling available excavation earth, excavating trench work, demolishing RCC work, demolishing dressed stone, demolishing brick work, etc. complete for satisfactory job completion.

- The Contractor will provide necessary materials wherever required.

- The work is inclusive of all labor, materials, hardware’s, tools, tests, special equipments, tackles, modifications etc. all complete for satisfactory job completion.

- Rates quoted will be inclusive of all taxes, levies, duties, labor and transportation charges, tools, tackles, hard wares, etc. all complete.

- The rates quoted shall be valid for a period of One Year.

- Rates to be inclusive of getting the bore well & rain water system inspected & approved & registered with Central Ground Water Authority/Delhi Jal Board. Statutory dues if any will be paid by the Centaur Hotel.

- Terms of Payment:

- 80% after satisfactory completion of the works.

- 15%. After the registration certificate for the Bore well from Central Ground Water Authority/Delhi Jal Board is submitted to Centaur Hotel.

- 5% after completion of defects liability period of One Year.

- The bill is to be submitted within the 45 days from the date of completion of the work otherwise bill not be accepted in any case.

- During the defect Liability Period of 12 months, cost of materials & labor will be borne by the Contractor.

4.         Prequalification Criteria.

a)  One completed work of similar nature of 80% value of Rs. 30 lacs during

last 5 years.          OR

b)  Two completed works of similar nature of 50% value of Rs. 30 lacs during

last 5 years.          OR

c)  Three completed works of similar nature of 40% value of Rs. 30 lacs during

last 5 years.

5.	General Terms & Conditions:

- Power & Water Supply:

Power & Water supply will be made available at one point free of cost and cost of                                                                          all further extensions will be borne by the Contractor.

- No escalation clause is applicable for this work.

- All safety precautions will be strictly adhered to at site and all the workmen will also be made aware of the safety precautions and fire fighting norms by the Contractor.

- The Contractor will ensure that proper fire fighting arrangements viz: fire extinguishers, sand buckets, etc. are available at site.

- The Contractor will strictly adhere to the Security Rules & Regulations of the Hotel and obtain necessary gate passes, entry permit, etc. from its Security Department.

- The defect liability period will be for a period of one year from the date of handing over of the completed works.

- The Contractor will indemnify HCI against any theft, loss or damage to any of its property during the course of installation.  The Contractor will also indemnify HCI from loss of life or accidents at site to their workmen during the course of installation.

- The decision of VP-Technical, HCI will be final in case of any technical dispute.

- All the work will be carried out as per the laid down norms and procedures of the related statutory bodies or Govt. Institutions wherever required and available.

- All materials required for this work are to be checked-in through the Security Department of the hotel, and the Security checked-in Receipts to be accompanied with the bills.

- Work to be carried out on priority even during night hours and shut down to be taken in coordination with Engineering Dept.

- Statutory deductions for ESI, PF, and IT etc. will be done from the bills.

- As it is a running hotel works/Shutdowns to be carried out in coordination with working sections such as to create minimum interruptions.

6.	Virtual Completion:

The work shall not be considered as completed until the same are certified, in writing, by the Engineer-in-charge of this work that they have been virtually completed and the Defects Liability Period shall commence from the date of such virtual completion certificate.

7.	Engineer-in-charge:

The Manager-Engineering of the Centaur Hotel shall be the Engineer-in-charge of this work.

8.	Liquidity Damages:

The work shall throughout the stipulated period of this contract proceed with expedition and diligence.  Incase of delay, a penalty 1% per day (subject to maximum 10%) will be deducted from the bill.  The work to be completed within 90 days from the date of receipt of PO.

9.	Extension of Time:

In case of the delay of work which is beyond the control of the contractor with proper justification shall be considered by Centaur Hotel, New Delhi.  However granting / not granting of extension of time shall be based on the facts and is at the discretion of the Centaur Hotel, New Delhi.

*         *           *

APPENDIX   HEREINBEFORE   REFERRED TO

1.	Defect Liability Period 		:	Twelve Months.

2.	Date of Commencement 		: 	As per the date of receipt

Of PO.

3.      Time of Completion of the work	: 	90 Days from the date of

Receipt of PO.

4.     Liquidated Damages 			: 	1.00% of the contract

Value per day subject to a maximum of 10% of the contract value.

------------------------------	                		-------------------------------

EMPLOYER 				        	         CONTRACTOR

ANNEXURE – I

ON TENDERER’S LETTER HEAD

C E R T I F I C A T E

To,

The Executive Manager – Catering,

Corporate Purchase Section,

Hotel Corporation of India Ltd,

Centaur Hotel,

IGI Airport-II,

NEW DELHI-110037

Sir,

## It is certified that we have studied and understood the terms and conditions of the tender for  Rain Water Harvesting System & Tube Well at Centaur Hotel, IGI Airport, New Delhi.

AUTHORISED SIGNATORY

COMPANY SEAL

ANNEXURE II

#### TECHNICAL BID FORMAT

TENDER NO. DEL/28/2010

| 1 | Name of Contract |  |
| --- | --- | --- |
| 2 | Name of the Bidder / Co. |  |
| 3 | Address |  |
| 4 | Telephone No. / Mobile No. |  |
| 5 | Fax No. |  |
| 6 | Email ID |  |
| 7 | Name of Contact Person |  |
| 8 | The bidder must be in this or similar business for Rain Water Harvesting System & Tube Well for the last one year. In case of authorized dealer, he must be in the similar business for the last one year. Please attach current authorization certificate. | Required Documentary proof submitted Yes / No |
| 9 | Attach photo copy of latest Income Tax Return |  |
| 10 | Sales Tax / TIN Number (Attach photo copy) |  |
| 11 | Attach photo copy of Annual Turnover for last two years |  |
| 11 | Certificate accepting all the terms and conditions unconditionally of the tender on the Bidder’s letter head in the format as given at Annexure- I. | Certificate accepting all the terms and conditions unconditionally of the tender on the Bidder’s letter head in the format as given at Annexure- I enclosed |
|  |  | YES / NO |
|  |  |  |  |  | YES / NO |
| 12 | Number of Employees | SKILLED | UNSKILLED |  |  |
| 13 | Details of institutional Customers.(Please attach proof) |  |  |  |  |
| 14 | PAN OR PF NO. (Please attach photo copy) |  |  |  |  |
| 15 | Mention all types of taxes considered/applicable i.e. VAT, Octroi, transportation, handling charges, insurance, etc. and their percentage. |  |  |  |  |
| 16 | Are you registered with N.S.I.C. ? (For details, visit www.nsic.co.in/go.asp ) If yes, please attach photo copy. |  |  |  |  |
| 17 | Attach photo copy of latest Electric Bill of your Organisation. |  |  |  |  |

AUTHORISED SIGNATORY & COMPANY SEAL

ANNEXURE – III

PRICE BID

Specification for Rain Water Harvesting System & One Tube Well at Centaur Hotel, Delhi

| No. | Description | Qty. | Unit | Total Amount (In Rs.) |
| --- | --- | --- | --- | --- |
| 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24 25 26 27 28 29 30 31 32 33 34 35 36 37 38 39 40 41 42 43 | Earthwork in excavation by mechanical means (hydraulic excavator)/manual means over areas (exceeding 30cm in depth, 1.5m in width) including disposal of excavated earth lead up to 50m and lift up to 1.5m, disposed earth to be leveled and dressed……………. All kinds of soil. Filling available excavation earth (excluding rock) in trenches, Plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50m and lift up to 1.5m Extra for every additional lift of 1.5m or part thereof in …………..all kinds of soil. Excavating trenches of required width pipes, cables, etc. including excavation for sockets, and dressing of sides, ramming of bottoms, depth up to 1.5m including getting out the excavated soil, and then returning the soil as required, in layers not exceeding, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50m ………….pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 m dia. Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering – All work up to plinth level…………1:4:8 (1 cement : 4 coarse sand: 8 graded stone aggregate 40mm nominal size) Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering, finishing and reinforcement –All work up to plinth level………………1:2:4 (1cement :2 coarse sand :4 graded stone. Centering and shuttering including strutting, propping etc. and removal of form for…………………Foundation, footings, bases of columns, etc for mass concrete. Reinforcement for R.C.C. work including straightening, cutting, bending, placing and binding all complete…….Cold twisted bars. Brick work with F.P.S bricks of class designation 75 in foundation and plinth in ………cement mortar 1:6 (1 cement: 6 coarse sand) Steel work welded in built up section/framed work including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required ………..in grating, frames, guard bar, ladder, railings, brackets, gates and similar works. 12mm cement plaster of mix…….1:4 (1 cement: 4 fine sand). Demolishing RCC work manually/by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 meters lead as per direction of engineer-in-charge. Demolishing dressed stone ashier face stone work, marble work or pre cast concrete work manually/by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 meters lead as per direction of engineer-in-charge…………in cement mortar. Demolishing brick work manually/by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 meters lead as per direction of engineer-in-charge……........in cement mortar. Providing and laying non-pressure NP2 (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement: 2 fine sand) including testing of joints etc. complete………...150 mm dia. R.C.C. pipe. Providing orange color safety foot rest of minimum 6 mm thick plastic encapsulated as per IS : 10910 on 12mm dia steel bar conforming to IS :1786 having minimum cross section as 23 mm x 25mm and over all minimum length 263 mm and width as 165 mm with minimum 112 mm space between protruded legs having 2mm tread on top surface by ribbing chequering besides necessary and adequate anchoring projections on tail length on 138 mm as per standard drawing and suitable : to with stand the bend test and chemical resistance test as per specifications and having manufacture’s permanent identification mark to be visible even after fixing, including fixing in manholes with 30x20x15 cm cement concrete 1:3:6 (1 cement:3 coarse sand:6 graded stone aggregate 20mm nominal size) complete as per design. Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality…LD-2.5…..Rectangular shape 600x600mm internal dimensions. Constructing brick masonry road gully chamber 60x60x45 cm with bricks of class designation 75 in cement mortar 1:4 (1 cement : 4 coarse sand) including 600x600 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design:…….with F.P.S. bricks. Drilling work for recharge wells…300mm dia ……..in alluvial formations (53mx9nos.). Casing of pvc pipe 6” dia in bore (Blank or slotted) of ISI Approved with 6kg/sqcm pressure. Filter items I/c cost of filling of Boulders + Gravels + Pea Gravels in recharge pit & annular space around bored pipe. Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality ….LD- 2.5…..Square shape 300mm internal dimensions for covering bore wells. Water arrangements for drilling and testing etc. Mobilization & Demobilization of equipment and Machinery to site for drilling. Water & Electricity arrangement for drilling. Drilling of pilot hole of 152 mm dia. Through all kinds of formations using Rotary drilling rig up to specified depth as per the recommendation of the geophysical surveys and water yield. The scope of work includes the setting rig at specified location and shifting to another location and disposal of muck and bentonite slurry (if any) etc. Collection of drill cutting samples, analysis of samples, preparation of Litho logical logs, preparation of drill time logs, analysis of all the drilling data with geophysical logs and preparation of composite logs for designing the well assembly for lowering. Geophysical logging (using Sp, 16-64-N & lateral) of the borehole to demarcate the exact aquifers for deciding well assembly in corroboration with litho logs. Reaming of pilot hole in stages of final size of 457 mm. dia through all kinds of formations using Rotary drilling rig up to specified depth as based on the analysis obtained from geophysical log and litho logical log and composite logs analysis. Supplying & Lowering MS housing pipe 8” (203 mm) dia. 5.4mm thick (MS/ERW Jindal Plain Pipe) confirming to IS: 3589 medium class including sockets of standard design. Supply & Lowering 200 mm dia Johnson/Super V wire screen pipe (stainless steel) with 1 to 1.5 mm slots as per strata conditions including sockets of standard design. Supplying & Fixing all necessary tube well fittings and welding such as Ball plug with hook, MS housing clamp, well cap, sanitary sealing of well at top etc. in all respects. Supplying & Shrouding of pea gravel washed and sieved of size 3 to 6 mm. Development of tube well with air compressor till water gets free from sand particles and silts. Development of tube well with over capacity pump till water discharge gets free from sand particles. Water Well testing arrangements as per relevant standards and technical specification with all necessary requirements including the fixing of suitable pump, discharge measurements and provision for disposal of pumped out water etc. Data collection for optimum duration water well testing and data analysis with suitable/ applicable method. Sampling and Testing of Water samples as per IS: 3025 and other relevant codes in Govt. accredited laboratory for drinking, air-conditioning and maintenance purpose. Supplying & Lowering of Submersible pump motor set IS: 8334/1989 of approved make like KSB, Kirloskar suitable for tube well with 7.5 HP (subject to the results of water well testing horse power may change, therefore cost may vary. Supplying & Fixing Control Panel (L&T) for above pump. Supplying installation of PVC 3-CORE 4sqmm insulated cables of suitable size for submersible pump. Supplying & Fixing, handling, threading, screwing, fixing with flanges/sockets of GI pipe 50 mm dia. “B class” of Jindal make for making connection between deliveries of the tube well pump to GL. Supplying & Installation of pump set and all other necessary fittings Gate Valves etc. | 250 62.5 275 125 9 16 110 1900 90 1000 100 2 2 2 125 60 9 4 477 459 75 9 9 1 1 110 1 1 110 65 35 1 18 1 1 1 1 1 1 1 75 65 1 | Cum Cum Cum M Cum Cum Sqm Kg Cum Kg Sqm Cum Cum Cum M Nos. Nos. Nos. Mbgl M Cum Nos. Nos. Job No. Meter No. No. Meter Meter Meter Job Cum Job Job Job Job Job Job No. Meter Meter No. |  |

GRAND TOTAL :

NOTE:

1) Total amount shall include work contract tax, VAT, Excise and other costs due to packing, Transportation, handling, insurance and installation, etc.

2) Do not attach any other sheet to this Annexure.

3) THE TENDERERS ARE ADVISED TO ENSURE THAT THE PRICES AND OTHER DETAILS ARE FILLED IN   CORRECTLY AND COMPLETELY IN THE ABOVE FORMAT.  SUBMISSION OF INCORRECT OR INCOMPLETE INFORMATION, AND / OR SUBMISSION OF THE ABOVE FORMAT WITH ARITHMETICAL ERRORS IN COMPLIATION OF THE DATA WOULD BE AT THE TENDERER'S SOLE RISK AND THE DECISION OF HCI IN SUCH CASES WOULD BE FINAL AND BINDING.

CERTIFICATION

Certified that:

a)          There are no hidden costs to Hotel Corporation of India Limited over and above that indicated above, and

b)     The benefit of reduction in statutory taxes/ levies, if any, arising during the term of the contract, if   awarded in our favour, would be passed on to Hotel Corporation of India Limited.

COMPANY SEAL

SIGNATURE

NAME

DESIGNATION

MOBILE NO.