HOTEL CORPORATION OF INDIA LTD

(CORPORATE PURCHASE SECTION)

CENTAUR HOTEL,  IGI AIRPORT-II

NEW DELHI - 110037.

##### TEL.NO.25607613, FAX NO.25654242

TENDER NO. DEL/20/2010                     				 Date: 20.08.2010

PURCHASE ENQUIRY

## Sub: Repair of (Gents & Ladies) Toilets near Coffee Shop at Centaur Hotel,

## IGI Airport, New Delhi.

## Hotel Corporation of India Limited, a wholly owned subsidiary of “Air India” invites sealed quotations in two envelope system for Repair of (Gents & Ladies) Toilets near Coffee Shop at Centaur Hotel, IGI Airport, New Delhi. as per Terms and Conditions mentioned in the Tender Document.

| Tender Enquiry No. | DEL/20/2010 |
| --- | --- |
| Last date of submission of tender | 14.09.2010 by 1430 hrs. |
| Date of opening of bid | 14.09.2010 at 1500 hrs. |

| S.No. | Particulars | Annexure |
| --- | --- | --- |
| 1 | Certificate | I |
| 2 | Technical Bid Format | II |
| 3 | Format for Price Bid | III |

ESTIMATED VALUE : RS. 5,09,000.00 WHICH MAY VARY AS PER OUR ACTUAL REQUIREMENTS.

METHOD OF SUBMISSION OF QUOTATIONS IN TWO ENVELOPE SYSTEM

FIRST ENVELOPE - “Technical Bid” contents following:-

(a)  Subscribe on FIRST ENVELOPE – Technical Bid for “Tender No. DEL/20/2010 Due Date 14.09.2010 and write your Company Name & Address at the bottom of envelope for identification.

(b)  EMD by Demand Draft/Pay Order or by Cash equivalent of Rs. 2500/-. EMD paid by way of Cheque not acceptable.  Please enclose the Receipt/DD in original favoring Hotel Corporation of India Ltd. If you are depositing Cash then enclose Original Cash Receipt in to this envelope and retain a photocopy of the Cash Receipt with you.

(c)  The Tenderer’s Status form (Annexure II) is enclosed with this Enquiry. The form to be filled in indicating your Company profile and signed by your authorized representative and to be attached in the First Envelope - Technical Bid.

(d) We will not be providing Tax related concessional forms like 2B/C/3D/D.

(e)  Are you registered with NSIC? (For details, visit www.nsic.co.in/go.asp). If “YES”, please attach a photo copy of “Registration Certificate”. If “NO”, your bid / quote will not be “Technically rejected”, based on this point.

(f)  Please attach photocopy of PAN Card.

(g) Mention all present Taxes, Excise, Octroi, which you have considered, their percentage and Amount in Rupees. Also mention transportation charges, handling charges, packing charges etc.

(h)  Confirm that the total amount mentioned in the Commercial Details includes all the taxes, excise,

octroi and any other cost due to packing, transportation, handling, insurance etc.

  - Confirm that, quote / price for all the ITEMS has been mentioned, in the “Price Bid.”

  - Confirm that, the mentioned Amount in Rupees, in the Price Bid (Kept in the “Envelope Two”) is unconditional in nature. Accordingly, it shall be treated as “Unconditional Offer”.

  - Prices should not be mentioned in this Technical Bid. Confirm the same.

  - The format of Declaration/Acceptance undertaking (Annexure III) is also enclosed with this enquiry. The same to be signed by your authorized representative and attached with Technical Bid.

Note:  As part of/along with your Technical Bid, please submit Registration Certificates, Trade and Industry Accreditation, if any as applicable.  HCI may visit the facility of Bidders to assess suitability as part of Technical Evaluation of bids.

SECOND ENVELOPE– “Price Bid” will have following:-

(a)  On this SECOND ENVELOPE - write “Tender No. DEL/20/2010 Due date 14.09.2010 and also write your Companies Name & Address at the bottom of the envelope.

(b)  Please fill up enclosed Price Bid Form (Annexure IV) and keep in your Second Envelope– Price Bid. The Price Bid must be signed by your authorized representative bearing Company Stamp.

(c) Alternatively you can use your Company letter head for Price Bid but it has to be typed in the manner/format shown in our Price Bid Form.

CORRECTIONS / OVERWRITINGS IN BIDS: Bidder needs to sign at all these places

THE TWO SEPARATE SEALED ENVELOPES (i.e. ONE ENVELOPE FOR THE TECHNICAL DETAILS, AND SECOND ENVELOPE FOR THE PRICE DETAILS) MAY BE FURTHER IN A MASTER ENVELOPE SUPERSCRIBED WITH "BID FOR TENDER ENQ. NO. DEL/20/2010 DUE FOR OPENING AT 1500 HRS. ON 14.09.2010 and should be submitted at the following address up to 1430 hrs. on or before 14.09.2010.

EXECUTIVE MANAGER,

CORPORATE PURCHASE SECTION,

HOTEL CORPORATION OF INDIA LTD.,

CENTAUR HOTEL,

IGI AIRPORT,

NEW DELHI-110037.

QUALIFICATION CRITERIA OF BID - BID MAY BE REJECTED, BASED ON ANY ONE OF THE FOLLOWING REASONS :

- Only single Envelope (Technical Bid or Commercial Bid) received.

- Details received by fax.

- Unsigned Offer.

- If you mention Total Amount in “First Envelope - Technical Bid”. (Total Amount must appear in Annexure IV only).

- If your Organization does not have “PAN”, issued by Income Tax authority.

- If the list of your existing Customers is NIL, for this Item.

- If the bidder has not quoted for all the Items, mentioned in this “Purchase Enquiry”.

- If the EMD (Bank Draft or Cash Receipt) is not kept in the first envelope.

CLARIFICATIONS:

a) For any technical clarification please contact:

Senior Manager – Engineering,

Centaur Hotel,

IGI Airport-II,

New Delhi-110037.

Tel.No. 25607600

NOTE: Managing Director – Hotel Corporation of India reserves the right to accept

or reject, in part or whole, any or all tenders received without assigning

any reasons whatsoever.

You are requested to confirm your intention to quote or regret to Corporate Purchase,

Centaur Hotel, Hotel Corporation of India Ltd.

Sd/-

(S.P.Mukhopadhyay)  						       			   Exec. Manager-Catering (CP)

HOTEL CORPORATION OF INDIA LIMITED

Sub: Repairs of (Gents & Ladies) Toilets Near Coffee Shop at CHDA

- Place of work:

The work is to be carried out in the Toilets near Coffee Shop and adjoining areas at Centaur Hotel, New Delhi.

2.         Scope of work:

- Supply & Fixing ceramic wall tiles, polished granite stone, POP False ceiling, water less urinal complete with seal, chemicals etc., EWC (European Water Closet), urinal partition, wash basin, CP Brass wash basin mixer, CP Brass angle valve, SS liquid soap container, toilet paper holder, hand shower, CP Brass robe hook, GI pipe (medium class), nitrile rubber insulation on hot water pipes, looking mirror, drawers, light fittings complete with lamp, ballast & wiring etc. including required modifications.

- The Contractor will provide necessary materials wherever required.

- The work is inclusive of all labor, materials, tools, tackles, modifications etc. all complete for satisfactory job completion.

- Rates quoted will be inclusive of all taxes, levies, duties, labor and transportation charges, tools, tackles, hard wares, etc. all complete.

- The rates quoted shall be valid for a period of 3 months.

- Job also involves dismantling/demolishing and shifting the malba outside the hotel to the approved municipal dumping ground of false ceiling, tiles marbles, granite, plaster, urinals, WC etc. and shifting the scrap to the scrap yard within the hotel.

- Job also involves floor polishing & grinding to mirror finish, repair of doors with supply & fixing of all required materials.

- Terms of Payment:

- 95% after completion of the works.

- 100% after defect liability period of one year.  The bill is to be submitted in duplicate within the 45 days from the date of completion of the work, otherwise bill not be accepted in any case.

- During the defect Liability Period of 12 months, cost of parts & labor will be borne by the Contractor.

- General Terms & Conditions:

- Power & Water Supply:

Power & Water supply will be made available at one point free of cost and cost of                                                                          all further extensions will be borne by the Contractor.

- No escalation clause is applicable for this work.

- All safety precautions will be strictly adhered to at site and all the workmen will also be made aware of the safety precautions and fire fighting norms by the Contractor.

- The Contractor will ensure that proper fire fighting arrangements viz: fire extinguishers, sand buckets, etc. are available at site.

- The Contractor will strictly adhere to the Security Rules & Regulations of the Hotel and obtain necessary gate passes, entry permit, etc. from its Security Department.

- The defect liability period will be for a period of one year from the date of handing over of the completed works.

- The Contractor will indemnify HCI against any theft, loss or damage to any of its property during the course of installation.  The Contractor will also indemnify HCI from loss of life or accidents at site to their workmen during the course of installation.

- The decision of VP-Technical, HCI, will be final in case of any technical dispute.

- All the work will be carried out as per the laid down norms and procedures of the related statutory bodies or Govt. Institutions wherever required and available.

- All materials required for this work are to be checked-in through the Security Department of the hotel, and the Security checked-in Receipts to be accompanied with the bills.

- Work to be carried out on priority even during night hours and shut down to be taken in coordination with Engineering Dept.

- Statutory deductions for ESI, PF, and IT etc. will be done from the bills.

- As it is running Hotel works/Shutdowns to be carried out in coordination with working sections such as to create minimum interruptions.

- Virtual Completion:

The work shall not be considered as completed until the same are certified, in writing, by the Engineer-in-charge of this work that they have been virtually completed and the Defects Liability Period shall commence from the date of such virtual completion certificate.

- Engineer-in-charge:

The Manager-Engineering of the Centaur Hotel shall be the Engineer-in-charge of this work.

7.	Extension of Time:

In case of the delay of work which is beyond the control of the contractor with proper justification shall be considered by Centaur Hotel, New Delhi.  However granting / not granting of extension of time shall be based on the facts and is at the discretion of the Centaur Hotel, New Delhi.

8.	Penalty:

The entire work is to be completed within a period of 90 days from the date of receipt of PO/LOI; otherwise a penalty @ 1% per day subject to maximum 10% will be deducted from the Bill.

***********

APPENDIX HEREIN BEFORE REFERRED TO

1.	Defect Liability Period 			:	Twelve Months.

2.	Date of Commencement 			:	As per the date of receipt

of PO.

3.	Time of Completion                   		:	90 Days from the date of

Receipt of PO.

4.	Penalty 					:	1% per day subject to

Maximum 10%

------------------------------	                	-------------------------------

EMPLOYER 				        CONTRACTOR

ANNEXURE – I

ON TENDERER’S LETTER HEAD

C E R T I F I C A T E

To,

The Executive Manager – Catering,

Corporate Purchase Section,

Hotel Corporation of India Ltd,

Centaur Hotel,

IGI Airport-II,

NEW DELHI-110037

Sir,

## It is certified that we have studied and understood the terms and conditions of the tender for  Repair of (Gents & Ladies) Toilets near Coffee Shop at Centaur Hotel, IGI Airport, New Delhi.

AUTHORISED SIGNATORY

COMPANY SEAL

ANNEXURE II

#### TECHNICAL BID FORMAT

TENDER NO.

| 1 | Name of Contract |  |
| --- | --- | --- |
| 2 | Name of the Bidder / Co. |  |
| 3 | Address |  |
| 4 | Telephone No. / Mobile No. |  |
| 5 | Fax No. |  |
| 6 | Email ID |  |
| 7 | Name of Contact Person |  |
| 8 | The bidder must be in this or similar business for Civil Work for the last one year. In case of authorized dealer, he must be in the similar business for the last one year. Please attach current authorization certificate. | Required Documentary proof submitted Yes / No |
| 9 | Attach photo copy of latest Income Tax Return |  |
| 10 | Sales Tax / TIN Number (Attach photo copy) |  |
| 11 | Attach photo copy of Annual Turnover for last two years |  |
| 11 | Certificate accepting all the terms and conditions unconditionally of the tender on the Bidder’s letter head in the format as given at Annexure- I. | Certificate accepting all the terms and conditions unconditionally of the tender on the Bidder’s letter head in the format as given at Annexure- I enclosed |
|  |  | YES / NO |
|  |  |  |  |  | YES / NO |
| 12 | Number of Employees | SKILLED | UNSKILLED |  |  |
| 13 | Details of institutional Customers.(Please attach proof) |  |  |  |  |
| 14 | PAN OR PF NO. (Please attach photo copy) |  |  |  |  |
| 15 | Mention all types of taxes considered/applicable i.e. VAT, Octroi, transportation, handling charges, insurance, etc. and their percentage. |  |  |  |  |
| 16 | Are you registered with N.S.I.C. ? (For details, visit www.nsic.co.in/go.asp ) If yes, please attach photo copy. |  |  |  |  |
| 17 | Attach photo copy of latest Electric Bill of your Organisation. |  |  |  |  |

AUTHORISED SIGNATORY & COMPANY SEAL

ANNEXURE – III

PRICE BID

Tender No. DEL/20/2010

Specification for  Repairs of (Gents & Ladies) Toilets Near Coffee Shop at CHDA.

| No. | Description | Qty. | Unit | Total Amount (In Rs.) |
| --- | --- | --- | --- | --- |
| 1 a) b) 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 a) b) c) 20 a) b) c) 21 22 23 | Dismantling / demolishing and removing the following in location as earmarked disposal of unserviceable materials to a place permitted by the authorities including making well any damages done to the structure complete. All dismantling is complete as per approvals and instruction of Engineering-In-charge: Existing False Ceiling Ceramic tiles/stone/granite wall including removing base plaster & raking of Providing and fixing of 1st quality ceramic tiles of 7mm thick conforming to the approved shade, design and prints of any size. As approved by the competent authorities in dado over 12mm thick bed of cement mortar 1:3 (1 Cement: 3 Coarse sand) and jointed with approved joint filler, loti Crete or equivalent complete. Providing and fixing of 19mm thick polished granite stone of white (Makrana) type of wash basin counter and skirting over existing stab including making and polished moulding on edge. Item No. (7.01). Providing, fixing & applying POP false ceiling profile as per design consisting of GI frame work as per drawing with suspended, supported from existing RCC slab with adjustable 25 x 4 mm MS flat @ 1200mm c/c fixed to the roof sophist with anchor fasteners. The item shall include the fallowing: (a) chicken wire mesh fixed to the frame work. b) applying POP (calcium sulphate semi hydrate verity) to a thickness less than 10mm finished smooth to line and level including providing extra frame work as necessary for electrical points, fittings, A/C diffusers, trap door and or any other cutouts etc. all as per specification and instruction of the Engineering In-charge. The rate shall be including all necessary supports, scaffolding etc. as required for completing the work in all respect including coats of primer and plastic emulsion paint on ceiling surface of desired colour and shade as per approval of the competent authority. Item No.1.01. Existing granite flooring grinding and polishing. Repairing and fixing of existing main entrance door shutter old paint polish remove including all necessary hardware and fitting like S.S hinges, cylindrical lock, handle etc. as per required. The shutter shell be duly polished in matt finish with melamine polish as per the approval of Engineering In-charge. Providing and fixing of white vitreous china flat back half stall urinal including automatic flushing system to ensure flushing of urinal after being used comprising of flush valve. All plumbing – valves (solenoid valve) etc. electronic automatic sensors PVC conduits concealed copper wiring. C.P. Brass flush pipe, spreaders with union, clamps (all in C.P. Brass) with waste fritting as per IS:2556 CI trap outlet grating and other coupling in C.P. Brass including painting of fittings and cutting and making good the wall and floors wherever required. Parry ware (retrofit EFS). Item No.8.01.9. Providing, fixing, testing & commissioning of white ivory vitreous china wall mounting type European water closet with CI chair or other bakelite seat and cover with CP hinges and rubber buffers, CP brass screwed washer CP bolts nuts as per required with all accessories including cutting and making good the wall and floor wherever required. W.C. Pan with white/ivory solid plastic seat and lid (Hind ware cat No. Parry ware cat No.=0290,450) Item No.8.01.4) Supply & fixing full size urinal partition make parry ware. Providing & fixing of white ivory vitreous china oval wash basin 56m x 41 cm for mounting under or over the counter wash basin with MS/CI brackets 32mm CP brass waste of standard pattern, 32mm dia CP brass pipe to wall flange complete including. Painting of fitting and brackets cutting, opening of the wash basin counter and making good the wall wherever required. Parry ware cat No. 0476 (Item No.8.01.6). Providing and fixing of C.P brass central hole Wash Basin mixer single lever complete etc. As (Jaquar cat No.15051) 15mm nominal bore with connection pile etc. Providing & fixing of C.P. brass angle valve 15mm dia for wash basin mixer of approved quality conforming to IS: 8931 (Jaquar cat No.051) complete accessories as wherever required. Providing & fixing of S.S. liquid soap container complete as required. Providing & fixing of C.P. brass bottle trap for wash basin and urinal 32mm dia. Providing & fixing of recessed type toilet paper holder complete as required – Jaquar cat No.1551. Providing & fixing of fully automatic NO TOUCH hand drier rated for continuous repeat usage, suitable to operate 220 Volts, single phase 50 Hz. As power supply with summer-winter control (Copal, Blue Circle). Providing & fixing Hand shower (Health Faucet) with 8mm dia, 1 meter long flexible tube and wall hook Jaquar cat No. 583. Providing & fixing of C.P. brass robe hook complete as per required – Jaquar cat No.1191. Providing, fixing, jointing & testing in position the following medium class GI pipes conforming to IS: 1239 cut to required lengths including all necessary fittings (All fittings shall conforming to IS:1879 part 1 to 10) and special such as bends, tees union, reducers, flanges and plugs etc. fixing at terrace level/shaft supported by clamp hangers etc. threading, jointing and making proper connections cutting and making hole in wall or floors slab or column and making good the same including disinfection. After testing of the system the cost shall also include system. The cost shall also include synthetic enamel paint as per is specified coal shade to exposed pipe and brackets and for embedded pipe anti corrosive treatment consisting of two coat of black Japan paint, rapping 4mm thick polythene paint and again one coat of black Japan paint. 15mm dia nominal bore 20mm dia nominal bore 25mm dia nominal bore providing & fixing of nitrile rubber insulation 9mm thick on hot water supply/return pipes complete with fire proof outer mechanical protection on nitrile rubber insulation:- 15mm dia nominal bore 20mm dia nominal bore 25mm dia nominal bore providing & placing in position looking mirror as per the design and approval of the Engineering In-charge including and made out of 6mm thick float glass mirror fixed over a 6mm thick ply wood base including applying anti-termite chemical with 50 x 20mm teak wood beading all wood beading shall be melamine polished in matt finish. Providing, fabricating , installation in position 600mm height x 450mm length x 40mm width made out of well seasoned 1st class teak wood sporting 50x50 teak wood supporting frame work and 19mm thick both side. Commercial black board and the side out off cold pressed with 3.5mm thick veneer on horizontal surfaces and vertical surfaces as per required design. Two drawers making the drawer shall be made of 19mm thick and side of 15mm thick teak wood. The drawer shall run on smooth drawer channel of approved make with all accessories etc. Size: 600mm height x 450mm length x 40mm = 4 Nos. (Item No. 5.1) Supply and assembling, erecting, testing and commissioning of following luminaries complete with necessary starters & copper wound choke /S/ electric ballasts capacitors lamp down rod of suitable length etc. as required ceiling mounted – down lighter (recessed) Philips cat No. FBH 145/118. Miscellaneous @ 5%........................... | 40 100 115 05 50 70 02 03 04 02 04 04 11 04 07 04 02 04 04 30 30 72 15 15 36 7.50 05 20 | Sq.mt Sq.mt Sq.mt Sq.mt Sq.mt Sq.mt Sq.mt Nos. Nos. Nos. Nos. Nos. Nos. Nos. Nos. Nos. Nos. Nos. Nos. Meters Meters Meters Meters Meters Meters Sq.mt Meters Nos. |  |

NET AMOUNT :

NOTE:

1) Total amount shall include work contract tax, VAT, Excise and other costs due to packing, Transportation, handling, insurance and installation, etc.

2) Do not attach any other sheet to this Annexure.

3) THE TENDERERS ARE ADVISED TO ENSURE THAT THE PRICES AND OTHER DETAILS ARE FILLED IN   CORRECTLY AND COMPLETELY IN THE ABOVE FORMAT.  SUBMISSION OF INCORRECT OR INCOMPLETE INFORMATION, AND / OR SUBMISSION OF THE ABOVE FORMAT WITH ARITHMETICAL ERRORS IN COMPLIATION OF THE DATA WOULD BE AT THE TENDERER'S SOLE RISK AND THE DECISION OF HCI IN SUCH CASES WOULD BE FINAL AND BINDING.

CERTIFICATION

Certified that:

a)          There are no hidden costs to Hotel Corporation of India Limited over and above that indicated above, and

b)     The benefit of reduction in statutory taxes/ levies, if any, arising during the term of the contract, if   awarded in our favour, would be passed on to Hotel Corporation of India Limited.

COMPANY SEAL

SIGNATURE

NAME

DESIGNATION

MOBILE NO.